## Slide 1: 3D reconstruction

## Slide 2: 3D cone beam reconstruction vs 2D fan beam.

## Slide 3
3D
reconstruction

## Slide 4
Cut out 2D
segments

## Slide 5
2D fan beam
reconstruction

## Slide 6
?
2D fan-beam
off center
reconstruction

## Slide 7
3D vs. 2D

## Slide 8: Accuracy of 3D Reconstruction
An experiment with phantom data

## Slide 9: Accuracy
The phantom fuel cells consists of two types of material
The phantom fuel cells

## Slide 10: Accuracy
The object rotates by its center
Cone beam setup
Image observed by the detector

## Slide 11: Accuracy
Reconstruction from phantom fuel cells

## Slide 12: Accuracy
Difference
Phantom
reconstructed
difference

## Slide 13
CGLS
SIRT
FDK
50 projections
100 projections
400 projections
8e-4
2e-4
3.5e-2
7.2e-4
5e-5
3.4e-2
7e-4
2e-5
3.2e-2

## Slide 14: Real data example

## Slide 15: Center slice: vendor vs FDK, cone

## Slide 16: Off center, slice 10, vendor vs FBP

## Slide 17: Previous slide zoomed

## Slide 18: 3D Reconstruction
Small MATLAB run

## Slide 19: Lessons learned
3D Reconstructions from projection data
Reconstruction with wrong assumptions
Inside knowledge gives ‘better’ reconstructions
Iterative methods ‘may’ requires some tweaking